## Jan
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Jan 1 | 2005-01-05 | 2005-02-01 | 641.8333 | 29.5045 | 15.4232
JACKSON | NWL Jan 2 | 2005-01-05 | 2005-02-01 | 641.8333 | 23.9762 | 12.5333
OXFORD | NWL Jan 3 | 2005-01-05 | 2005-02-01 | 646.1667 | 26.7998 | 14.0093
ABBOTS | NWL Jan 4 | 2005-01-05 | 2005-02-01 | 642.6667 | 22.9249 | 11.9837
BARDON | NWL Jan 5 | 2005-01-05 | 2005-02-01 | 642.4167 | 46.6481 | 24.3848
DERBY RD | NWL Jan 6 | 2005-01-05 | 2005-02-01 |  |  |  | Missing as on exposure sheet.
MEASHAM | NWL Jan 7 | 2005-01-05 | 2005-02-01 | 647.8333 | 26.3736 | 13.7865
BOUNDARY | NWL Jan 8 | 2005-01-05 | 2005-02-01 | 648 | 21.0697 | 11.0139
ASH MARC | NWL Jan 9 | 2005-01-05 | 2005-02-01 |  |  |  | Missing as on exposure sheet.
ASH MARK | NWL Jan 10 | 2005-01-05 | 2005-02-01 | 646.9167 | 0.83466 | 0.43631
ASH A42 | NWL Jan 11 | 2005-01-05 | 2005-02-01 | 647.6667 | 24.8917 | 13.0119
CD HIGH | NWL Jan 12 | 2005-01-05 | 2005-02-01 | 647.9167 | 35.954 | 18.7946
CD EMA | NWL Jan 13 | 2005-01-05 | 2005-02-01 | 647.8333 | 20.5988 | 10.7678
CD STAT | NWL Jan 14 | 2005-01-05 | 2005-02-01 | 647.8333 | 35.7205 | 18.6725
CD DISE | NWL Jan 15 | 2005-01-05 | 2005-02-01 | 647.8333 | 17.9793 | 9.3985
KEG A6 | NWL Jan 16 | 2005-01-05 | 2005-02-01 | 647.9167 | 16.7269 | 8.7438
KEG EMA | NWL Jan 17 | 2005-01-05 | 2005-02-01 | 647.8333 | 26.8499 | 14.0355
KEG MOLE | NWL Jan 18 | 2005-01-05 | 2005-02-01 | 647.75 | 62.638 | 32.7433
LW M1 | NWL Jan 19 | 2005-01-05 | 2005-02-01 | 647.75 | 25.4839 | 13.3214
LW WEST | NWL Jan 20 | 2005-01-05 | 2005-02-01 | 647.75 | 36.3205 | 18.9861
COPT OAK | NWL Jan 21 | 2005-01-05 | 2005-02-01 | 646.25 | 42.7309 | 22.3371
CHARLEY | NWL Jan 22 | 2005-01-05 | 2005-02-01 | 646.0833 | 34.6233 | 18.099
BROOM | NWL Jan 23 | 2005-01-05 | 2005-02-01 |  |  |  | Missing as on exposure sheet.
SINOPE | NWL Jan 24 | 2005-01-05 | 2005-02-01 |  |  |  | Missing as on exposure sheet.
MOLEHILL HOUSE | NWL Jan 25 | 2005-01-05 | 2005-02-01 | 647.75 | 44.3586 | 23.188
AEROPARK | NWL Jan 26 | 2005-01-05 | 2005-02-01 | 647.7667 | 19.5888 | 10.2398

## Feb
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Feb 1 | 2005-02-01 | 2005-03-03 | 720.6667 | 43.6518 | 22.8185
JACKSON | NWL Feb 2 | [5 empty] | Missing on arrival
OXFORD | NWL Feb 3 | 2005-02-01 | 2005-03-03 | 720.6667 | 36.1105 | 18.8764
ABBOTS | NWL Feb 4 | 2005-02-01 | 2005-03-03 | 720.6667 | 29.7801 | 15.5672
BARDON | NWL Feb 5 | 2005-02-01 | 2005-03-03 | 720.6667 | 75.0834 | 39.249
DERBY RD | NWL Feb 6 | 2005-02-01 | 2005-03-03 | 720.0833 | 35.0379 | 18.3157
MEASHAM | NWL Feb 7 | 2005-02-01 | 2005-03-03 | 719.8333 | 32.8457 | 17.1697
BOUNDARY | NWL Feb 8 | 2005-02-01 | 2005-03-03 | 719.6667 | 28.9396 | 15.1278
ASH MARC | NWL Feb 9 | 2005-02-01 | 2005-03-03 | 720.1667 | 29.8559 | 15.6068
ASH MARK | NWL Feb 10 | [5 empty] | Missing as on exposure sheet.
ASH A42 | NWL Feb 11 | 2005-02-01 | 2005-03-03 | 719.9167 | 31.0234 | 16.2172
CD HIGH | NWL Feb 12 | 2005-02-01 | 2005-03-03 | 718.75 | 42.7748 | 22.36
CD EMA | NWL Feb 13 | 2005-02-01 | 2005-03-03 | 718.75 | 27.0447 | 14.1373
CD STAT | NWL Feb 14 | 2005-02-01 | 2005-03-03 | 718.6667 | 44.4909 | 23.2571
CD DISE | NWL Feb 15 | 2005-02-01 | 2005-03-03 | 718.75 | 28.9213 | 15.1183
KEG A6 | NWL Feb 16 | 2005-02-01 | 2005-03-03 | 718.75 | 48.5701 | 25.3895
KEG EMA | NWL Feb 17 | 2005-02-01 | 2005-03-03 | 718.75 | 31.5154 | 16.4743
KEG MOLE | NWL Feb 18 | 2005-02-01 | 2005-03-03 | 718.75 | 71.4201 | 37.3341
LW M1 | NWL Feb 19 | 2005-02-01 | 2005-03-03 | 719.0833 | 36.0245 | 18.8314
LW WEST | NWL Feb 20 | 2005-02-01 | 2005-03-03 | 719.0833 | 41.5413 | 21.7152
COPT OAK | NWL Feb 21 | 2005-02-01 | 2005-03-03 | 720.5833 | 46.4095 | 24.2601
CHARLEY | NWL Feb 22 | 2005-02-01 | 2005-03-03 | 720.6667 | 37.872 | 19.7972
BROOM | NWL Feb 23 | 2005-02-01 | 2005-03-03 | 719.5833 | 38.7008 | 20.2304
SINOPE | NWL Feb 24 | 2005-02-01 | 2005-03-03 | 719.25 | 26.3089 | 13.7527
MOLEHILL HOUSE | NWL Feb 25 | 2005-02-01 | 2005-03-03 | 718.75 | 50.0603 | 26.1685
AEROPARK | NWL Feb 26 | 2005-02-01 | 2005-03-03 | 718.8333 | 26.2138 | 13.703
Extra tube | NWL 08 | 2005-02-01 | 2005-03-03 | 719.67 | 0.4961 | 0.25933

## Mar
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Mar 1 | 2005-03-03 | 2005-04-01 |  |  |  | Missing as on exposure sheet.
JACKSON | NWL Mar 2 | 2005-03-03 | 2005-04-01 | 699.0833 | 41.929 | 21.9179
OXFORD | NWL Mar 3 | 2005-03-03 | 2005-04-01 | 700.4167 | 25.7152 | 13.4423
ABBOTS | NWL Mar 4 | 2005-03-03 | 2005-04-01 | 700.4167 | 24.1183 | 12.6076
BARDON | NWL Mar 5 | 2005-03-03 | 2005-04-01 | 700.3333 | 45.3236 | 23.6924 | Missing as on exposure sheet.
DERBY RD | NWL Mar 6 | 2005-03-03 | 2005-04-01
MEASHAM | NWL Mar 7 | 2005-03-03 | 2005-04-01 | 699.4167 | 35.4021 | 18.506
BOUNDARY | NWL Mar 8 | 2005-03-03 | 2005-04-01 | 699.3333 | 32.8694 | 17.1821
ASH MARC | NWL Mar 9 | 2005-03-03 | 2005-04-01 | 699 | 24.8845 | 13.0081
ASH MARK | NWL Mar 10 | 2005-03-03 | 2005-04-01 |  |  |  | Missing as on exposure sheet.
ASH A42 | NWL Mar 11 | 2005-03-03 | 2005-04-01 | 698.3333 | 27.3383 | 14.2908
CD HIGH | NWL Mar 12 | 2005-03-03 | 2005-04-01 | 700.3333 | 41.4136 | 21.6485
CD EMA | NWL Mar 13 | 2005-03-03 | 2005-04-01 | 700.4167 | 23.7879 | 12.4349
CD STAT | NWL Mar 14 | 2005-03-03 | 2005-04-01 | 700.4167 | 36.6731 | 19.1704
CD DISE | NWL Mar 15 | 2005-03-03 | 2005-04-01 | 700.4167 | 23.6778 | 12.3773
KEG A6 | NWL Mar 16 | 2005-03-03 | 2005-04-01 | 700.3333 | 44.2773 | 23.1455
KEG EMA | NWL Mar 17 | 2005-03-03 | 2005-04-01 | 700.3333 | 24.727 | 12.9258
KEG MOLE | NWL Mar 18 | 2005-03-03 | 2005-04-01 | 700.3333 | 43.1208 | 22.5409
LW M1 | NWL Mar 19 | 2005-03-03 | 2005-04-01 | 700.4167 | 25.9355 | 13.5575
LW WEST | NWL Mar 20 | 2005-03-03 | 2005-04-01 | 700.4167 | 35.0762 | 18.3357
COPT OAK | NWL Mar 21 | 2005-03-03 | 2005-04-01 | 700.4167 | 39.151 | 20.4657
CHARLEY | NWL Mar 22 | 2005-03-03 | 2005-04-01 | 700.3333 | 34.3094 | 17.9348
BROOM | NWL Mar 23 | 2005-03-03 | 2005-04-01 | 693.8333 | 60.9235 | 31.8471
SINOPE | NWL Mar 24 | 2005-03-03 | 2005-04-01 | 698.25 | 27.0654 | 14.1481
MOLEHILL HOUSE | NWL Mar 25 | 2005-03-03 | 2005-04-01 | 700.3333 | 32.6022 | 17.0424
AEROPARK | NWL Mar 26 | 2005-03-03 | 2005-04-01 | 700.3333 | 21.0923 | 11.0258

## Apr
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Apr 1 | 2005-04-01 | 2005-05-04 | 789 | 29.6716 | 15.5105
JACKSON | NWL Apr 2 | 2005-04-01 | 2005-05-04 | 788.9167 | 23.906 | 12.4966
OXFORD | NWL Apr 3 | 2005-04-01 | 2005-05-04 | 787.5 | 23.0185 | 12.0327
ABBOTS | NWL Apr 4 | 2005-04-01 | 2005-05-04 | 787.3333 | 18.0268 | 9.4233
BARDON | NWL Apr 5 | 2005-04-01 | 2005-05-04 | 790.5 | 39.3732 | 20.5819
DERBY RD | NWL Apr 6 | 2005-04-01 | 2005-05-04 | 788.8333 | 21.7084 | 11.3478 | Sample contained a web
MEASHAM | NWL Apr 7 | 2005-04-01 | 2005-05-04 | 787.1667 | 25.2331 | 13.1903
BOUNDARY | NWL Apr 8 | 2005-04-01 | 2005-05-04 | 787.4167 | 18.5147 | 9.6784
ASH MARL | NWL Apr 9 | 2005-04-01 | 2005-05-04 | 787.5 | 30.5117 | 15.9497
M1 MOLE | NWL Apr 10 | 2005-04-01 | 2005-05-04 |  |  |  | Missing on arrival.
ASH A42 | NWL Apr 11 | 2005-04-01 | 2005-05-04 | 788.5 | 24.4078 | 12.7589
CD HIGH | NWL Apr 12 | 2005-04-01 | 2005-05-04 | 787.6667 | 42.159 | 22.0382
CD EMA | NWL Apr 13 | 2005-04-01 | 2005-05-04 | 787.3333 | 19.1535 | 10.0123
CD STAT | NWL Apr 14 | 2005-04-01 | 2005-05-04 | 787.8333 | 35.1985 | 18.3996
CD DISE | NWL Apr 15 | 2005-04-01 | 2005-05-04 | 787 | 21.8079 | 11.3999
KEG A6 | NWL Apr 16 | 2005-04-01 | 2005-05-04 | 787.4167 | 45.4051 | 23.735
KEG EMA | NWL Apr 17 | 2005-04-01 | 2005-05-04 | 787.4167 | 23.3148 | 12.1876
KEG MOLE | NWL Apr 18 | 2005-04-01 | 2005-05-04 | 787.5 | 55.4892 | 29.0064
LW M1 | NWL Apr 19 | 2005-04-01 | 2005-05-04 | 787.5 | 26.4957 | 13.8504
LW WEST | NWL Apr 20 | 2005-04-01 | 2005-05-04 | 787.5 | 34.0869 | 17.8186
COPT OAK | NWL Apr 21 | 2005-04-01 | 2005-05-04 | 787.5 | 40.7966 | 21.326
CHARLEY | NWL Apr 22 | 2005-04-01 | 2005-05-04 | 787.5 | 34.9685 | 18.2794
BROOM | NWL Apr 23 | 2005-04-01 | 2005-05-04 | 792.4167 | 36.6497 | 19.1583
SINOPE | NWL Apr 24 | 2005-04-01 | 2005-05-04 | 788.3333 | 28.229 | 14.7564
MOLEHILL HOUSE | NWL Apr 25 | 2005-04-01 | 2005-05-04 | 787.5 | 35.2624 | 18.433
AEROPARK | NWL Apr 26 | 2005-04-01 | 2005-05-04 | 787.5833 | 15.6705 | 8.1916
BARDON RD W | NWL Apr 27 | 2005-04-01 | 2005-05-04 | 790.75 | 42.0434 | 21.9777
MI MOLE 2 | NWL Apr 28 | 2005-04-01 | 2005-05-04 | 787.5 | 45.7921 | 23.9373 | Sample contained a web
BROOMLEYS | NWL Apr 29 | 2005-04-01 | 2005-05-04 | 792.4167 | 39.4727 | 20.6339

## May
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL May 1 | 2005-05-04 | 2005-06-02 |  |  |  | Missing on arrival.
JACKSON | NWL May 2 | 2005-05-04 | 2005-06-02 | 696 | 23.1077 | 12.0793 | Sample was not missing as on exposure sheet. Max time used.
OXFORD | NWL May 3 | 2005-05-04 | 2005-06-02 | 695.4167 | 16.3054 | 8.5235
ABBOTS | NWL May 4 | 2005-05-04 | 2005-06-02 |  |  |  | Missing as on exposure sheet
BARDON | NWL May 5 | 2005-05-04 | 2005-06-02 | 698.0833 | 31.6023 | 16.5197
DERBY RD | NWL May 6 | 2005-05-04 | 2005-06-02 | 695 | 26.3596 | 13.7792
MEASHAM | NWL May 7 | 2005-05-04 | 2005-06-02 |  |  |  | Missing as on exposure sheet
BOUNDARY | NWL May 8 | 2005-05-04 | 2005-06-02 | 694.9167 | 13.4311 | 7.021
ASH MARL | NWL May 9 | 2005-05-04 | 2005-06-02 | 696 | 21.8886 | 11.442 | Sample was not missing as on exposure sheet. Max time used.
M1 MOLE | NWL May 10 | 2005-05-04 | 2005-06-02 | 694.0833 | 49.9548 | 26.1133 | Sample contained a web
ASH A42 | NWL May 11 | 2005-05-04 | 2005-06-02 |  |  |  | Missing on arrival.
CD HIGH | NWL May 12 | 2005-05-04 | 2005-06-02 | 695 | 32.0199 | 16.7381
CD EMA | NWL May 13 | 2005-05-04 | 2005-06-02 | 695.0833 | 14.3157 | 7.4834
CD STAT | NWL May 14 | 2005-05-04 | 2005-06-02 | 695 | 30.9101 | 16.1579
CD DISE | NWL May 15 | 2005-05-04 | 2005-06-02 | 695.0833 | 14.4822 | 7.5704 | Sample contained a web
KEG A6 | NWL May 16 | 2005-05-04 | 2005-06-02 |  |  |  | Missing on arrival.
KEG EMA | NWL May 17 | 2005-05-04 | 2005-06-02 |  |  |  | Missing as on exposure sheet
KEG MOLE | NWL May 18 | 2005-05-04 | 2005-06-02 | 695 | 48.4461 | 25.3247
LW M1 | NWL May 19 | 2005-05-04 | 2005-06-02 | 695.25 | 22.245 | 11.6283
LW WEST | NWL May 20 | 2005-05-04 | 2005-06-02 | 695.25 | 27.0712 | 14.1512
COPT OAK | NWL May 21 | 2005-05-04 | 2005-06-02 | 695.25 | 38.9427 | 20.3569
CHARLEY | NWL May 22 | 2005-05-04 | 2005-06-02 | 695.3333 | 29.1758 | 15.2513
BROOM | NWL May 23 | 2005-05-04 | 2005-06-02 | 698.5833 | 40.4131 | 21.1255
SINOPE | NWL May 24 | 2005-05-04 | 2005-06-02 | 694.8333 | 25.7553 | 13.4633
MOLEHILL HOUSE | NWL May 25 | 2005-05-04 | 2005-06-02 | 695 | 35.1276 | 18.3626
AEROPARK | NWL May 26 | 2005-05-04 | 2005-06-02 | 700.75 | 10.1821 | 5.3226
BARDON RD W | NWL May 27 | 2005-05-04 | 2005-06-02 | 697.8333 | 38.3011 | 20.0215
MI MOLE 2 | NWL May 28 | 2005-05-04 | 2005-06-02 |  |  |  | Missing as on exposure sheet
BROOMLEYS | NWL May 29 | 2005-05-04 | 2005-06-02 | 698.5833 | 32.7942 | 17.1428

## Jun
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Jun 1 | 2005-06-02 | 2005-06-28 | 623.8333 | 28.8721 | 15.0926
JACKSON | NWL Jun 2 | 2005-06-02 | 2005-06-28 | 623.8333 | 25.8427 | 13.509
OXFORD | NWL Jun 3 | 2005-06-02 | 2005-06-28 | 623.8333 | 17.0017 | 8.8875 | Sample contained a web & a spider.
ABBOTS | NWL Jun 4 | 2005-06-02 | 2005-06-28 | 623.9167 | 18.6067 | 9.7265
BARDON | NWL Jun 5 | 2005-06-02 | 2005-06-28 | 621.5833 | 42.9995 | 22.4775
DERBY RD | NWL Jun 6 | 2005-06-02 | 2005-06-28 |  |  |  | Missing as on exposure sheet
MEASHAM | NWL Jun 7 | 2005-06-02 | 2005-06-28 | 624 | 27.2573 | 14.2485
BOUNDARY | NWL Jun 8 | 2005-06-02 | 2005-06-28 | 624.0833 | 18.5399 | 9.6915
ASH MARL | NWL Jun 9 | 2005-06-02 | 2005-06-28 |  |  |  | Missing as on exposure sheet
M1 MOLE | NWL Jun 10 | 2005-06-02 | 2005-06-28 | 624.0833 | 50.923 | 26.6195 | Sample contained a web
ASH A42 | NWL Jun 11 | 2005-06-02 | 2005-06-28 | 624.0833 | 24.9671 | 13.0513
CD HIGH | NWL Jun 12 | 2005-06-02 | 2005-06-28 | 624.0833 | 35.5967 | 18.6078
CD EMA | NWL Jun 13 | 2005-06-02 | 2005-06-28 | 624.0833 | 15.9443 | 8.3347
CD STAT | NWL Jun 14 | 2005-06-02 | 2005-06-28 | 624.0833 | 32.0123 | 16.7341
CD DISE | NWL Jun 15 | 2005-06-02 | 2005-06-28 | 624.0833 | 17.4275 | 9.1101
KEG A6 | NWL Jun 16 | 2005-06-02 | 2005-06-28 | 624.1667 | 40.5352 | 21.1894
KEG EMA | NWL Jun 17 | 2005-06-02 | 2005-06-28 | 624.0833 | 11.1858 | 5.8472 | Sample was dirty inside.
KEG MOLE | NWL Jun 18 | 2005-06-02 | 2005-06-28 | 624.0833 | 56.0524 | 29.3008
LW M1 | NWL Jun 19 | 2005-06-02 | 2005-06-28 | 623.6667 | 23.8088 | 12.4458
LW WEST | NWL Jun 20 | 2005-06-02 | 2005-06-28 | 623.6667 | 26.5298 | 13.8682
COPT OAK | NWL Jun 21 | 2005-06-02 | 2005-06-28 | 623.8333 | 36.7856 | 19.2293 | Sample contained a web
CHARLEY | NWL Jun 22 | 2005-06-02 | 2005-06-28 | 623.8333 | 31.0977 | 16.256
BROOM | NWL Jun 23 | 2005-06-02 | 2005-06-28 | 623.8333 | 40.3096 | 21.0714
SINOPE | NWL Jun 24 | 2005-06-02 | 2005-06-28 | 623.8333 | 28.2538 | 14.7694
MOLEHILL HOUSE | NWL Jun 25 | 2005-06-02 | 2005-06-28 | 622.8333 | 33.5627 | 17.5445 | Sample contained a web
AEROPARK | NWL Jun 26 | 2005-06-02 | 2005-06-28 | 623.8333 | 15.8271 | 8.2734
BARDON RD W | NWL Jun 27 | 2005-06-02 | 2005-06-28 | 623.8333 | 41.4224 | 21.6531
MI MOLE 2 | NWL Jun 28 | 2005-06-02 | 2005-06-28 | 622.8333 | 52.4495 | 27.4174 | Sample contained a web
BROOMLEYS | NWL Jun 29 | 2005-06-02 | 2005-06-28 | 623.8333 | 46.2448 | 24.1739

## Jul
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Jul 1 | 2005-06-28 | 2005-08-02 | 841 | 32.6064 | 17.0446
JACKSON | NWL Jul 2 | 2005-06-28 | 2005-08-02 | 841 | 27.4242 | 14.3357
OXFORD | NWL Jul 3 | 2005-06-28 | 2005-08-02 | 841 | 21.6917 | 11.3391
ABBOTS | NWL Jul 4 | 2005-06-28 | 2005-08-02 | 841 | 17.9312 | 9.3734
BARDON | NWL Jul 5 | 2005-06-28 | 2005-08-02 | 841 | 39.6688 | 20.7365
DERBY RD | NWL Jul 6 | 2005-06-28 |  |  |  |  | Missing as on exposure sheet
MEASHAM | NWL Jul 7 | 2005-06-28 | 2005-08-02 | 841 | 29.0293 | 15.1748
BOUNDARY | NWL Jul 8 | 2005-06-28 |  |  |  |  | Missing as on exposure sheet
ASH MARL | NWL Jul 9 | 2005-06-28 |  |  |  |  | Missing as on exposure sheet
M1 MOLE | NWL Jul 10 | 2005-06-28 | 2005-08-02 | 841.3333 | 53.0848 | 27.7495
ASH A42 | NWL Jul 11 | 2005-06-28 | 2005-08-02 | 841 | 23.2051 | 12.1302
CD HIGH | NWL Jul 12 | 2005-06-28 | 2005-08-02 | 841 | 36.9631 | 19.3221
CD EMA | NWL Jul 13 | 2005-06-28 |  |  |  |  | Missing as on exposure sheet
CD STAT | NWL Jul 14 | 2005-06-28 | 2005-08-02 | 841 | 35.8625 | 18.7467
CD DISE | NWL Jul 15 | 2005-06-28 | 2005-08-02 | 841 | 16.1886 | 8.4624 | Sample contained a web & a spider.
KEG A6 | NWL Jul 16 | 2005-06-28 | 2005-08-02 | 841 | 40.6319 | 21.2399
KEG EMA | NWL Jul 17 | 2005-06-28 | 2005-08-02 | 841 | 22.2421 | 11.6268
KEG MOLE | NWL Jul 18 | 2005-06-28 | 2005-08-02 | 841.3333 | 51.3428 | 26.8389
LW M1 | NWL Jul 19 | 2005-06-28 | 2005-08-02 | 841 | 26.6905 | 13.9522
LW WEST | NWL Jul 20 | 2005-06-28 | 2005-08-02 | 841 | 28.9835 | 15.1508
COPT OAK | NWL Jul 21 | 2005-06-28 | 2005-08-02 | 841 | 42.879 | 22.4146
CHARLEY | NWL Jul 22 | 2005-06-28 | 2005-08-02 | 841 | 32.2395 | 16.8529
BROOM | NWL Jul 23 | 2005-06-28 | 2005-08-02 | 841 | 44.0714 | 23.0378
SINOPE | NWL Jul 24 | 2005-06-28 | 2005-08-02 | 841 | 26.4153 | 13.8083
MOLEHILL HOUSE | NWL Jul 25 | 2005-06-28 | 2005-08-02 | 841.3333 | 33.7854 | 17.6609
AEROPARK | NWL Jul 26 | 2005-06-28 | 2005-08-02 | 841 | 14.4917 | 7.5754
BARDON RD W | NWL Jul 27 | 2005-06-28 | 2005-08-02 | 841 | 46.7771 | 24.4522
MI MOLE 2 | NWL Jul 28 | 2005-06-28 | 2005-08-02 | 841.3333 | 50.1509 | 26.2158
BROOMLEYS | NWL Jul 29 | 2005-06-28 | 2005-08-02 | 841 | 48.0612 | 25.1235

## Aug
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Aug 1 | 2005-08-02 | 2005-09-01 |  |  |  | Missing as on exposure sheet
JACKSON | NWL Aug 2 | 2005-08-02 | 2005-09-01 | 725.5 | 25.5722 | 13.3676
OXFORD | NWL Aug 3 | 2005-08-02 | 2005-09-01 | 720.5 | 10.3552 | 5.4131
ABBOTS | NWL Aug 4 | 2005-08-02 | 2005-09-01 | 720.4167 | 13.4025 | 7.006
BARDON | NWL Aug 5 | 2005-08-02 | 2005-09-01 | 722.0833 | 18.8417 | 9.8493
DERBY RD | NWL Aug 6 | 2005-08-02 | 2005-09-01 | 720.25 | 29.3039 | 15.3183
MEASHAM | NWL Aug 7 | 2005-08-02 | 2005-09-01 | 720.1667 | 19.2242 | 10.0493
BOUNDARY | NWL Aug 8 | 2005-08-02 | 2005-09-01 |  |  |  | Missing as on exposure sheet
ASH MARL | NWL Aug 9 | 2005-08-02 | 2005-09-01 |  |  |  | Missing as on exposure sheet
M1 MOLE | NWL Aug 10 | 2005-08-02 | 2005-09-01 | 720 | 45.7166 | 23.8979
ASH A42 | NWL Aug 11 | 2005-08-02 | 2005-09-01 | 720.3333 | 16.6719 | 8.7151
CD HIGH | NWL Aug 12 | 2005-08-02 | 2005-09-01 | 720.25 | 22.3795 | 11.6987
CD EMA | NWL Aug 13 | 2005-08-02 | 2005-09-01 | 720.25 | 14.1811 | 7.413 | Sample contained a web.
CD STAT | NWL Aug 14 | 2005-08-02 | 2005-09-01 | 720.25 | 22.1025 | 11.5539
CD DISE | NWL Aug 15 | 2005-08-02 | 2005-09-01 | 720.25 | 11.5775 | 6.052
KEG A6 | NWL Aug 16 | 2005-08-02 | 2005-09-01 | 720.25 | 33.6247 | 17.5769
KEG EMA | NWL Aug 17 | 2005-08-02 | 2005-09-01 | 720.25 | 19.222 | 10.0481
KEG MOLE | NWL Aug 18 | 2005-08-02 | 2005-09-01 | 720 | 50.2606 | 26.2732
LW M1 | NWL Aug 19 | 2005-08-02 | 2005-09-01 | 726.0833 | 16.2102 | 8.4737 | Sample contained a web.
LW WEST | NWL Aug 20 | 2005-08-02 | 2005-09-01 | 726.0833 | 25.5517 | 13.3569
COPT OAK | NWL Aug 21 | 2005-08-02 | 2005-09-01 | 720.4167 | 33.9492 | 17.7466
CHARLEY | NWL Aug 22 | 2005-08-02 | 2005-09-01 | 720.4167 | 29.1863 | 15.2568
BROOM | NWL Aug 23 | 2005-08-02 | 2005-09-01 | 722.5 | 21.371 | 11.1715
SINOPE | NWL Aug 24 | 2005-08-02 | 2005-09-01 | 719.4167 | 26.6758 | 13.9445
MOLEHILL HOUSE | NWL Aug 25 | 2005-08-02 | 2005-09-01 | 720 | 27.9841 | 14.6284
AEROPARK | NWL Aug 26 | 2005-08-02 | 2005-09-01 | 720.1667 | 8.4764 | 4.4309
BARDON RD W | NWL Aug 27 | 2005-08-02 | 2005-09-01 | 722.1667 | 26.2427 | 13.7181
MI MOLE 2 | NWL Aug 28 | 2005-08-02 | 2005-09-01 | 720 | 43.3338 | 22.6523
BROOMLEYS | NWL Aug 29 | 2005-08-02 | 2005-09-01 | 722.5 | 32.3051 | 16.8871

## Sep
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Sept 1 | 2005-09-01 | 2005-10-03 |  |  |  | Missing as on exposure sheet
JACKSON | NWL Sept 2 | 2005-09-01 | 2005-10-03 | 761.6667 | 25.7672 | 13.4695
OXFORD | NWL Sept 3 | 2005-09-01 | 2005-10-03 | 766.75 | 22.2194 | 11.6149
ABBOTS | NWL Sept 4 | 2005-09-01 | 2005-10-03 | 766.8333 | 20.7978 | 10.8718
BARDON | NWL Sept 5 | 2005-09-01 | 2005-10-03 | 768.9167 | 37.7739 | 19.7459
DERBY RD | NWL Sept 6 | 2005-09-01 | 2005-10-03 | 767 | 34.0521 | 17.8004
MEASHAM | NWL Sept 7 | 2005-09-01 | 2005-10-03 |  |  |  | Missing as on exposure sheet
BOUNDARY | NWL Sept 8 | 2005-09-01 | 2005-10-03 |  |  |  | Missing as on exposure sheet
ASH MARL | NWL Sept 9 | 2005-09-01 | 2005-10-03 |  |  |  | Missing as on exposure sheet
M1 MOLE | NWL Sept 10 | 2005-09-01 | 2005-10-03 | 767 | 58.3191 | 30.4857
ASH A42 | NWL Sept 11 | 2005-09-01 | 2005-10-03 | 771.5 | 24.3687 | 12.7385
CD HIGH | NWL Sept 12 | 2005-09-01 | 2005-10-03 | 766.9167 | 35.1812 | 18.3906
CD EMA | NWL Sept 13 | 2005-09-01 | 2005-10-03 | 767.0833 | 2.2503 | 1.1763 | Tube was wet inside.
CD STAT | NWL Sept 14 | 2005-09-01 | 2005-10-03 | 766.75 | 36.1677 | 18.9063
CD DISE | NWL Sept 15 | 2005-09-01 | 2005-10-03 | 766.4167 | 23.1594 | 12.1063
KEG A6 | NWL Sept 16 | 2005-09-01 | 2005-10-03 | 766.75 | 44.8793 | 23.4602
KEG EMA | NWL Sept 17 | 2005-09-01 | 2005-10-03 | 762.3333 | 25.9415 | 13.5607
KEG MOLE | NWL Sept 18 | 2005-09-01 | 2005-10-03 | 762.5 | 42.1273 | 22.0216
LW M1 | NWL Sept 19 | 2005-09-01 | 2005-10-03 | 767.25 | 19.4171 | 10.1501
LW WEST | NWL Sept 20 | 2005-09-01 | 2005-10-03 | 767.1667 | 26.8542 | 14.0378
COPT OAK | NWL Sept 21 | 2005-09-01 | 2005-10-03 | 761.8333 | 35.3175 | 18.4618
CHARLEY | NWL Sept 22 | 2005-09-01 | 2005-10-03 | 765.1667 | 36.3897 | 19.0223
BROOM | NWL Sept 23 | 2005-09-01 | 2005-10-03 | 772.1667 | 44.3701 | 23.194
SINOPE | NWL Sept 24 | 2005-09-01 | 2005-10-03 | 772.75 | 32.5847 | 17.0333
MOLEHILL HOUSE | NWL Sept 25 | 2005-09-01 | 2005-10-03 | 767 | 31.5569 | 16.496
AEROPARK | NWL Sept 26 | 2005-09-01 | 2005-10-03 | 767 | 15.6561 | 8.1841
BARDON RD W | NWL Sept 27 | 2005-09-01 | 2005-10-03 | 768.9167 | 49.2915 | 25.7666
MI MOLE 2 | NWL Sept 28 | 2005-09-01 | 2005-10-03 | 767 | 57.5363 | 30.0765
BROOMLEYS | NWL Sept 29 | 2005-09-01 | 2005-10-03 | 768.5 | 39.6499 | 20.7266

## Oct
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Oct 1 | 2005-10-03 | 2005-11-02 | 720.0833 | 35.5973 | 18.6081
JACKSON | NWL Oct 2 | 2005-10-03 | 2005-11-02 | 720.1667 | 27.1716 | 14.2036
OXFORD | NWL Oct 3 | 2005-10-03 | 2005-11-02 | 720.1667 | 22.2457 | 11.6287
ABBOTS | NWL Oct 4 | 2005-10-03 | 2005-11-02 | 720.0833 | 22.5661 | 11.7962
BARDON | NWL Oct 5 | 2005-10-03 | 2005-11-02 | 720 | 35.2306 | 18.4164
DERBY RD | NWL Oct 6 | 2005-10-03 | 2005-11-02 | 720.4167 | 31.2921 | 16.3576
MEASHAM | NWL Oct 7 | 2005-10-03 | 2005-11-02 | 720.6667 | 27.3115 | 14.2768
BOUNDARY | NWL Oct 8 | 2005-10-03 | 2005-11-02 | 720.75 | 17.9939 | 9.4061
ASH MARL | NWL Oct 9 | 2005-10-03 | 2005-11-02 | 720.5 | 32.4532 | 16.9645
M1 MOLE | NWL Oct 10 | 2005-10-03 | 2005-11-02 | 720.1667 | 39.1949 | 20.4887
ASH A42 | NWL Oct 11 | 2005-10-03 | 2005-11-02 | 719.6667 | 32.0667 | 16.7625
CD HIGH | NWL Oct 12 | 2005-10-03 | 2005-11-02 | 720.0833 | 28.9228 | 15.1191
CD EMA | NWL Oct 13 | 2005-10-03 | 2005-11-02 | 720.0833 | 19.1759 | 10.024
CD STAT | NWL Oct 14 | 2005-10-03 | 2005-11-02 | 720.0833 | 31.0947 | 16.2544
CD DISE | NWL Oct 15 | 2005-10-03 | 2005-11-02 | 720 | 0.052978 | 0.027694 | Double Checked
KEG A6 | NWL Oct 16 | 2005-10-03 | 2005-11-02 | 720.4167 | 47.2293 | 24.6886
KEG EMA | NWL Oct 17 | 2005-10-03 | 2005-11-02 | 720.4167 | 20.3849 | 10.656
KEG MOLE | NWL Oct 18 | 2005-10-03 | 2005-11-02 | 720.3333 | 38.4445 | 20.0964
LW M1 | NWL Oct 19 | 2005-10-03 | 2005-11-02 | 720.0833 | 29.0288 | 15.1745
LW WEST | NWL Oct 20 | 2005-10-03 | 2005-11-02 | 720.0833 | 28.499 | 14.8976
COPT OAK | NWL Oct 21 | 2005-10-03 | 2005-11-02 | 720 | 38.0384 | 19.8842
CHARLEY | NWL Oct 22 | 2005-10-03 | 2005-11-02 | 720 | 30.0387 | 15.7024
BROOM | NWL Oct 23 | 2005-10-03 | 2005-11-02 | 720.1667 | 45.0741 | 23.562
SINOPE | NWL Oct 24 | 2005-10-03 | 2005-11-02 | 720.1667 | 26.3241 | 13.7607
MOLEHILL HOUSE | NWL Oct 25 | 2005-10-03 | 2005-11-02 | 720.3333 | 22.6113 | 11.8198
AEROPARK | NWL Oct 26 | 2005-10-03 | 2005-11-02 | 720 | 19.8139 | 10.3575
BARDON RD W | NWL Oct 27 | 2005-10-03 | 2005-11-02 | 720 | 48.952 | 25.5891
MI MOLE 2 | NWL Oct 28 | 2005-10-03 | 2005-11-02 | 720.3333 | 40.4037 | 21.1206
BROOMLEYS | NWL Oct 29 | 2005-10-03 | 2005-11-02 | 720.1667 | 38.5063 | 20.1288

## Nov
Gradko International Ltd
Nitrogen Dioxide Concentrations
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
N.W. LEICESTERSHIRE D.C.
Client ID | Tube Number | Date On | Date Off | Time (hr.) | ug/m3 | ppb/m3 | Comments
BELVOIR | NWL Nov 1 | 2005-11-02 | 2005-11-30 | 677.4167 | 40.5409 | 21.1923
JACKSON | NWL Nov 2 | 2005-11-02 | 2005-11-30 | 677.4167 | 39.9198 | 20.8677
OXFORD | NWL Nov 3 | 2005-11-02 | 2005-11-30 | 677.3333 | 30.2118 | 15.7929
ABBOTS | NWL Nov 4 | 2005-11-02 | 2005-11-30 | 677.3333 | 29.5906 | 15.4682
BARDON | NWL Nov 5 | 2005-11-02 | 2005-11-30 | 668.0833 | 45.6875 | 23.8827
DERBY RD | NWL Nov 6 | 2005-11-02 | 2005-11-29 | 648.3333 | 49.7931 | 26.0288
MEASHAM | NWL Nov 7 | 2005-11-02 | 2005-11-30 | 667.75 | 34.6551 | 18.1156
BOUNDARY | NWL Nov 8 | 2005-11-02 | 2005-11-30 | 667.8333 | 31.0998 | 16.2571
KEG A6 | NWL Nov 9 | 2005-11-02 | 2005-11-29 | 648 | 47.8709 | 25.024
M1 MOLE | NWL Nov 10 | 2005-11-02 | 2005-11-29 | 648 | 82.8148 | 43.2905
ASH A42 | NWL Nov 11 | 2005-11-02 | 2005-11-30 | 668.5833 | 33.01 | 17.2556
CD HIGH | NWL Nov 12 | 2005-11-02 | 2005-11-30 | 677 | 47.9107 | 25.0448
CD EMA | NWL Nov 13 | 2005-11-02 | 2005-11-30 | 677.1667 | 23.9495 | 12.5193
CD STAT | NWL Nov 14 | 2005-11-02 | 2005-11-30 | 677.0833 | 43.0465 | 22.5021
CD DISE | NWL Nov 15 | 2005-11-02 | 2005-11-30 | 677.1667 | 24.4578 | 12.7851
KEG A6 | NWL Nov 16 | 2005-11-02 | 2005-11-29 | 648.1667 | 0.23605 | 0.12339
KEG EMA | NWL Nov 17 | 2005-11-02 | 2005-11-29 | 648 | 34.4717 | 18.0197
KEG MOLE | NWL Nov 18 | 2005-11-02 | 2005-11-29 | 647.8333 | 79.5297 | 41.5733
LW M1 | NWL Nov 19 | 2005-11-02 | 2005-11-30 | 677.9167 | 28.5496 | 14.924
LW WEST | NWL Nov 20 | 2005-11-02 | 2005-11-30 | 677.9167 | 38.8748 | 20.3214
COPT OAK | NWL Nov 21 | 2005-11-02 | 2005-11-30 | 677.4167 | 45.3404 | 23.7012
CHARLEY | NWL Nov 22 | 2005-11-02 | 2005-11-30 | 677.4167 | 39.694 | 20.7496
BROOM | NWL Nov 23 | 2005-11-02 | 2005-11-30 | 666.6667 | 47.5058 | 24.8332
SINOPE | NWL Nov 24 | 2005-11-02 | 2005-11-30 | 668 | 38.9366 | 20.3537
MOLEHILL HOUSE | NWL Nov 25 | 2005-11-02 | 2005-11-29 | 647.8333 | 48.1193 | 25.1539
AEROPARK | NWL Nov 26 | 2005-11-02 | 2005-11-30 | 677.1667 | 27.508 | 14.3795
BARDON RD W | NWL Nov 27 | 2005-11-02 | 2005-11-30 | 666.25 | 42.4835 | 22.2078
MI MOLE 2 | NWL Nov 28 | 2005-11-02 | 2005-11-29 | 647.8333 | 75.9872 | 39.7215
BROOMLEYS | NWL Nov 29 | 2005-11-02 | 2005-11-30 | 666.6667 | 59.1528 | 30.9215

## Dec
Great Guildford House, 30 Great Guilford Street London, SE1 0ES
T +44 (0)20 7902 6101 F +44 (0)20 7902 6149
| Results Contact: | Patricia Bowe
N.W. Leicestershire D.C. Nitrogen Dioxide Diffusion Tube Results
Laboratory: Gradko International Ltd
Preparation Method: 50% TEA v/v in Acetone
Analyitical Method: U.V.Spectrophotometry
Analysis carried out in accordance with documented in-house Laboratory Method GLM6
Uncertainty of measurement - |  | 1.67%+/- | Limit of Detection - |  | 0.57ug/m3* @ 672hrs
Results are blank subtracted
Client ID | Tube Number | Date On | Date Off | Time (hr.) | NO2 ug/m3 | NO2 ppb/m3 | Comments
BELVOIR | NWL Dec 1 | 2005-11-30 | 2006-01-05 | 858.3333 | 35.4917 | 18.5529
JACKSON | NWL Dec 2 | 2005-11-30 | 2006-01-05 | 858.25 | 35.6259 | 18.6231
OXFORD | NWL Dec 3 | 2005-11-30 | 2006-01-05 | 858.3333 | 31.7855 | 16.6155
ABBOTS | NWL Dec 4 | 2005-11-30 | 2006-01-05 | 858.3333 | 28.995 | 15.1568
BARDON | NWL Dec 5 | 2005-11-30 | 2006-01-05 | 864 | 40.1969 | 21.0125
DERBY RD | NWL Dec 6 | 2005-11-29 | 2006-01-05 | 888.5833 | 44.8127 | 23.4254
MEASHAM | NWL Dec 7 | 2005-11-30 | 2006-01-05 | 864 | 34.4792 | 18.0236
BOUNDARY | NWL Dec 8 | 2005-11-30 | 2006-01-05 | 863.8333 | 22.6151 | 11.8218 | Tube was wet inside.
KEG A6 2 | NWL Dec 9 | 2005-11-29 | 2006-01-05 | 887.6667 | 40.8116 | 21.3338
M1 MOLE | NWL Dec 10 | 2005-11-29 | 2006-01-05 | 888 | 53.524 | 27.9791
ASH A42 | NWL Dec 11 | 2005-11-30 | 2006-01-05 | 865.4167 | 32.7795 | 17.1351
CD HIGH | NWL Dec 12 | 2005-11-30 | 2006-01-05 | 858.75 | 40.7041 | 21.2776
CD EMA | NWL Dec 13 | 2005-11-30 | 2006-01-05 | 858.5 | 29.3817 | 15.359
CD STAT | NWL Dec 14 | 2005-11-30 | 2006-01-05 | 858.5 | 35.6156 | 18.6176
CD DISE | NWL Dec 15 | 2005-11-30 | 2006-01-05 | 858.75 | 27.7171 | 14.4888
KEG A6 1 | NWL Dec 16 | 2005-11-29 | 2006-01-05 | 887.5 | 22.6446 | 11.8372 | Tube labelled as NWL Nov 16
KEG EMA | NWL Dec 17 | 2005-11-29 | 2006-01-05 | 887.8333 | 31.5303 | 16.4821
KEG MOLE | NWL Dec 18 | 2005-11-29 | 2006-01-05 | 888 | 55.9684 | 29.2569
LW M1 | NWL Dec 19 | 2005-11-30 | 2006-01-05 | 857.75 | 31.5454 | 16.49
LW WEST | NWL Dec 20 | 2005-11-30 | 2006-01-05 | 857.75 | 36.8684 | 19.2725
COPT OAK | NWL Dec 21 | 2005-11-30 | 2006-01-05 | 858.4167 | 43.7717 | 22.8812
CHARLEY | NWL Dec 22 | 2005-11-30 | 2006-01-05 | 858.4167 | 35.4446 | 18.5283
BROOM | NWL Dec 23 | 2005-11-30 | 2006-01-05 | 865.25 | 44.3776 | 23.1979
SINOPE | NWL Dec 24 | 2005-11-30 | 2006-01-05 | 864.9167 | 35.4379 | 18.5248
MOLEHILL HOUSE | NWL Dec 25 | 2005-11-29 | 2006-01-05 | 888 | 35.9496 | 18.7923
AEROPARK | NWL Dec 26 | 2005-11-30 | 2006-01-05 | 858.6667 | 27.7634 | 14.513
BARDON RD W | NWL Dec 27 | 2005-11-30 | 2006-01-05 | 865.8333 | 51.0042 | 26.6619
MI MOLE 2 | NWL Dec 28 | 2005-11-29 | 2006-01-05 | 888 | 56.137 | 29.345
BROOMLEYS | NWL Dec 29 | 2005-11-30 | 2006-01-05 | 865.25 | 49.3084 | 25.7755

## Average
[20 empty] | BIAS = | 1.1
| Tube Number |  |  | Jan'! | Feb'! | Mar'! | Apr'! | May'! | June'! | July'! | Aug'! | Sep'! | Oct'! | Nov'! | Dec'! |  | Average | Bias corrected | Percent data coverage | periods | standard deviation
BELVOIR | NWL | Dec | 1 | 29.5045 | 43.6518 | [7 empty] | 35.5973 | 40.5409 | 35.4917 | 24 | 36.9573 | 40.653 | 41.67% | 5 | 5.413
JACKSON | NWL | Dec | 2 | 23.9762 |  | 41.929 | 23.906 | 23.1077 |  |  | 25.5722 | 25.7672 | 27.1716 | 39.9198 | 35.6259 | 25 | 29.664 | 32.6303 | 75% | 9 | 7.3975
OXFORD | NWL | Dec | 3 | 26.7998 | 36.1105 | 25.7152 | 23.0185 | 16.3054 |  |  | 10.3552 | 22.2194 | 22.2457 | 30.2118 | 31.7855 | 26 | 24.4767 | 26.9244 | 83.33% | 10 | 7.5053
ABBOTS | NWL | Dec | 4 | 22.9249 | 29.7801 | 24.1183 | 18.0268 |  |  |  | 13.4025 | 20.7978 | 22.5661 | 29.5906 | 28.995 | 27 | 23.3558 | 25.6914 | 75% | 9 | 5.5604
BARDON | NWL | Dec | 5 | 46.6481 | 75.0834 | 45.3236 | 39.3732 | 31.6023 |  |  | 18.8417 | 37.7739 | 35.2306 | 45.6875 | 40.1969 | 28 | 41.5761 | 45.7337 | 83.33% | 10 | 14.3652
DERBY RD | NWL | Dec | 6 |  | 35.0379 |  | 21.7084 | 26.3596 |  |  | 29.3039 | 34.0521 | 31.2921 | 49.7931 | 44.8127 | 29 | 34.045 | 37.4495 | 66.67% | 8 | 9.3063
MEASHAM | NWL | Dec | 7 | 26.3736 | 32.8457 | 35.4021 | 25.2331 |  |  |  | 19.2242 |  | 27.3115 | 34.6551 | 34.4792 | 30 | 29.4406 | 32.3846 | 66.67% | 8 | 5.8031
BOUNDARY | NWL | Dec | 8 | 21.0697 | 28.9396 | 32.8694 | 18.5147 | 13.4311 |  |  |  |  | 17.9939 | 31.0998 | 22.6151 | 31 | 23.3166 | 25.6483 | 66.67% | 8 | 6.9499
ASH MARL | NWL | Dec | 9 |  | 29.8559 | 24.8845 | 30.5117 | 21.8886 |  |  |  |  | 32.4532 | 47.8709 | 40.8116 | 32 | 32.6109 | 35.872 | 58.33% | 7 | 9.0074
M1 MOLE | NWL | Dec | 10 | 0.83466 |  |  |  | 49.9548 |  |  | 45.7166 | 58.3191 | 39.1949 | 82.8148 | 53.524 | 33 | 47.1941 | 51.9136 | 58.33% | 7 | 24.6835
ASH A42 | NWL | Dec | 11 | 24.8917 | 31.0234 | 27.3383 | 24.4078 |  |  |  | 16.6719 | 24.3687 | 32.0667 | 33.01 | 32.7795 | 34 | 27.3953 | 30.1349 | 75% | 9 | 5.4181
CD HIGH | NWL | Dec | 12 | 35.954 | 42.7748 | 41.4136 | 42.159 | 32.0199 |  |  | 22.3795 | 35.1812 | 28.9228 | 47.9107 | 40.7041 | 35 | 36.942 | 40.6362 | 83.33% | 10 | 7.6039
CD EMA | NWL | Dec | 13 | 20.5988 | 27.0447 | 23.7879 | 19.1535 | 14.3157 |  |  | 14.1811 | 2.2503 | 19.1759 | 23.9495 | 29.3817 | 36 | 19.3839 | 21.3223 | 83.33% | 10 | 7.7944
CD STAT | NWL | Dec | 14 | 35.7205 | 44.4909 | 36.6731 | 35.1985 | 30.9101 |  |  | 22.1025 | 36.1677 | 31.0947 | 43.0465 | 35.6156 | 37 | 35.102 | 38.6122 | 83.33% | 10 | 6.3082
CD DISE | NWL | Dec | 15 | 17.9793 | 28.9213 | 23.6778 | 21.8079 | 14.4822 |  |  | 11.5775 | 23.1594 | 0.052978 | 24.4578 | 27.7171 | 38 | 19.3833 | 21.3217 | 83.33% | 10 | 8.7263
KEG A6 | NWL | Dec | 16 | 16.7269 | 48.5701 | 44.2773 | 45.4051 |  |  |  | 33.6247 | 44.8793 | 47.2293 | 0.23605 | 22.6446 | 39 | 33.7326 | 37.1058 | 75% | 9 | 16.9859
KEG EMA | NWL | Dec | 17 | 26.8499 | 31.5154 | 24.727 | 23.3148 |  |  |  | 19.222 | 25.9415 | 20.3849 | 34.4717 | 31.5303 | 40 | 26.4397 | 29.0837 | 75% | 9 | 5.2209
KEG MOLE | NWL | Dec | 18 | 62.638 | 71.4201 | 43.1208 | 55.4892 | 48.4461 |  |  | 50.2606 | 42.1273 | 38.4445 | 79.5297 | 55.9684 | 41 | 54.7445 | 60.2189 | 83.33% | 10 | 13.2351
LW M1 | NWL | Dec | 19 | 25.4839 | 36.0245 | 25.9355 | 26.4957 | 22.245 |  |  | 16.2102 | 19.4171 | 29.0288 | 28.5496 | 31.5454 | 42 | 26.0936 | 28.7029 | 83.33% | 10 | 5.7795
LW WEST | NWL | Dec | 20 | 36.3205 | 41.5413 | 35.0762 | 34.0869 | 27.0712 |  |  | 25.5517 | 26.8542 | 28.499 | 38.8748 | 36.8684 | 43 | 33.0744 | 36.3819 | 83.33% | 10 | 5.6524
COPT OAK | NWL | Dec | 21 | 42.7309 | 46.4095 | 39.151 | 40.7966 | 38.9427 |  |  | 33.9492 | 35.3175 | 38.0384 | 45.3404 | 43.7717 | 44 | 40.4448 | 44.4893 | 83.33% | 10 | 4.1388
CHARLEY | NWL | Dec | 22 | 34.6233 | 37.872 | 34.3094 | 34.9685 | 29.1758 |  |  | 29.1863 | 36.3897 | 30.0387 | 39.694 | 35.4446 | 45 | 34.1702 | 37.5872 | 83.33% | 10 | 3.6283
BROOM | NWL | Dec | 23 |  | 38.7008 | 60.9235 | 36.6497 | 40.4131 |  |  | 21.371 | 44.3701 | 45.0741 | 47.5058 | 44.3776 | 46 | 42.154 | 46.3694 | 75% | 9 | 10.4672
SINOPE | NWL | Dec | 24 |  | 26.3089 | 27.0654 | 28.229 | 25.7553 |  |  | 26.6758 | 32.5847 | 26.3241 | 38.9366 | 35.4379 | 47 | 29.702 | 32.6722 | 75% | 9 | 4.7863
MOLEHILL HOUSE | NWL | Dec | 25 | 44.3586 | 50.0603 | 32.6022 | 35.2624 | 35.1276 |  |  | 27.9841 | 31.5569 | 22.6113 | 48.1193 | 35.9496 | 48 | 36.3632 | 39.9996 | 83.33% | 10 | 8.751
AEROPARK | NWL | Dec | 26 | 19.5888 | 26.2138 | 21.0923 | 15.6705 | 10.1821 |  |  | 8.4764 | 15.6561 | 19.8139 | 27.508 | 27.7634 | 49 | 19.1965 | 21.1162 | 83.33% | 10 | 6.8068
BARDON RD W | NWL | Dec | 27 |  | 0.4961 |  | 42.0434 | 38.3011 |  |  | 26.2427 | 49.2915 | 48.952 | 42.4835 | 51.0042 | 50 | 37.3518 | 41.087 | 66.67% | 8 | 16.8799
MI MOLE 2 | NWL | Dec | 28 |  |  |  | 45.7921 |  |  |  | 43.3338 | 57.5363 | 40.4037 | 75.9872 | 56.137 | 51 | 53.1984 | 58.5182 | 50% | 6 | 13.1351
BROOMLEYS | NWL | Dec | 29 |  |  |  | 39.4727 | 32.7942 |  |  | 32.3051 | 39.6499 | 38.5063 | 59.1528 | 49.3084 | 52 | 41.5985 | 45.7583 | 58.33% | 7 | 9.5687